SCHEDULE OF RATES

	ITEM
	DESCRIPTION
	UNIT RATE
	UNIT

	
	
	Dh.
	Files
	

	Sub-Structure :

	1
	Excavation 
	8
	00
	m3

	2
	Filling with Excavated Material
	8
	00
	m3

	3
	Imported Sand Filling
	17
	00
	m3

	4
	Subkha Filling
	25
	00
	m3

	5
	Anti termite Treatment 
	4
	00
	m3

	6
	P.C.C. Blinding
	250
	00
	m3

	7
	S.R.C.C. in footings (with Steel, Shuttering etc)
	425
	00
	m3

	8
	S.R.C.C. in Tie-Beams
	800
	00
	m3

	9
	S.R.C.C. Floor Slab
	320
	00
	m3

	Super-Structure : 

	1
	O.P.C.C. for Columns
	1000
	00
	m3

	2
	O.P.C.C. for Hourdi Slab (360mm.) incl. Shuttering etc.
	165
	00
	m2

	3
	Blcokwork :

	
	a
	200mm. Solid Blockwork
	46
	00
	m2

	
	b
	200mm. Insulated Blockwork
	68
	00
	m2

	
	c
	100mm. Insulated Blockwork
	46
	00
	m2

	
	d
	100mm. Hollow Blockwork
	31
	00
	m2

	
	e
	200mm. Hollow Blockwork
	35
	00
	m2

	4
	Readymix Spray Plaster + Paint to wall
	23
	00
	m2

	5
	External Wall Plaster
	13
	00
	m2

	6
	Roofing (Incl. Foam Conc., Membrane, Polystyrene Board, Cement-Tiles, Gravel etc.)
	90
	00
	m2


